## Lab
Labour Code | Description | Unit | Rate (Rs) | lab_sl
L0001 | CHECK & FINAL SURVEY OF HTOH LINE | KM | 2761 | 1
L0002 | CHECK & FINAL SURVEY OF LTOH LINE | KM | 1714 | 2
L0003 | ERECTION OF SUB-STN DP 9 MT LONG | NOS | 12309 | 3
L0004 | ERECTION OF SUB-STN DP 8 MT LONG | NOS | 9875 | 4
L0005 | ERECTION OF SP 9 MT LONG HT | NOS | 2534 | 5
L0006 | ERECTION OF SP 8 MT LONG HT | NOS | 1680 | 6
L0007 | ERECTION OF SP 8 MT LONG LT W/O FTTG | NOS | 1501 | 7
L0008 | ERECTION OF DP STRUCTURE 9 MT LONG | NOS | 8922 | 8
L0009 | ERECTION OF DP STRUCTURE 8 MT LONG | NOS | 5654 | 9
L0010 | ERECTION OF TP STRUCTURE 9 MT LONG | NOS | 15242 | 10
L0011 | ERECTION OF 4P STRUCTURE 9 MT LONG | NOS | 24572 | 11
L0012 | ERECTION OF 16 KVA DTR | NOS | 1885 | 12
L0013 | ERECTION OF 25 KVA DTR | NOS | 1925 | 13
L0014 | ERECTION OF 63 KVA DTR | NOS | 2711 | 14
L0015 | ERECTION OF 100 KVA DTR | NOS | 3214 | 15
L0016 | EXTENSION OF 8/9 M PCC POLE UPTO 3M | NOS | 1506 | 16
L0017 | ERECTION OF STAY SET HT | NOS | 641 | 17
L0018 | ERECTION OF STAY SET LT | NOS | 555 | 18
L0019 | EARTHING COMPLETE | NOS | 313 | 19
L0020 | FIXING OF PIN INSULATOR 11 KV | NOS | 63 | 20
L0021 | FIXING OF DISC INSULATOR 11 KV | NOS | 65 | 21
L0022 | RE-FIXING OF PIN INSULATOR 11 KV | NOS | 53 | 22
L0023 | RE-FIXING OF DISC INSULATOR 11 KV | NOS | 53 | 23
L0024 | FIXING OF TPGO ISL 11 KV SST | NOS | 1193 | 24
L0025 | FIXING OF TPGO ISL 11 KV LINE DP | NOS | 3165 | 25
L0026 | RE-FIXING OF TPGO ISL 11 KV SST | NOS | 1717 | 26
L0027 | FIXING OF T-OFF BRACKET ON SP | NOS | 1495 | 27
L0028 | FIXING OF T-OFF BRACKET ON DP | NOS | 1483 | 28
L0029 | STRINGING & SAGGING BY ACSR 50 3 WIRE | KM | 8289 | 29
L0030 | STRINGING & SAGGING BY ACSR 30 3 WIRE | KM | 7899 | 30
L0031 | STRINGING & SAGGING BY ACSR 30 4 WIRE | KM | 8821 | 31
L0032 | STRINGING & SAGGING BY ACSR 30 2 WIRE | KM | 5322 | 32
L0033 | DRAWAL OF PVC CABLE 10 SQ MM 4 CORE (EQV. TO ACSR 20 X 2 WIRE) | KM | 4873 | 33
L0034 | RE-SAGGING BY ACSR 50 3 WIRE | KM | 1708.8 | 34
L0035 | RE-SAGGING BY ACSR 30 2 WIRE | KM | 1238.4 | 35
L0036 | RE-SAGGING BY ACSR 30 3 WIRE | KM | 1651.2 | 36
L0037 | RE-SAGGING BY ACSR 30 4 WIRE | KM | 2064 | 37
L0038 | STRAIGHTENING OF PCC POLE 8 MT | NOS | 292 | 38
L0039 | RE-FIXING OF FITTINGS HT 150/POLE | NOS | 150 | 39
L0040 | FIXING OF ANGLE IRON BRACKET | NOS | 596 | 40
L0041 | FIXING OF MS BOX BRACKET LT | NOS | 1414 | 41
L0042 | FIXING OF LT SHACKLE INSULATOR | NOS | 52 | 42
L0043 | RE-FIXING OF LT SHACKLE INSULATOR | NOS | 38 | 43
L0044 | FIXING OF CG BRACKET SP | NOS | 237 | 44
L0045 | FIXING OF CG BRACKET DP | NOS | 369 | 45
L0046 | FIXING OF LEAD WIRE UPTO 30 MTRS 2 WIRE | NOS | 256 | 46
L0047 | FIXING OF LEAD WIRE 30-60 MTRS 2 WIRE | NOS | 312 | 47
L0048 | FIXING OF LEAD WIRE 60-100 MTRS 2 WIRE | NOS | 506 | 48
L0049 | FIXING OF CROSS LESSING WIRE | NOS | 15 | 49
L0050 | FIXING OF LA | SET | 339 | 50
L0051 | FIXING OF LT SPACER 3P4W | NOS | 56 | 51
L0052 | FIXING OF LT SPACER 1P2W | NOS | 37 | 52
L0053 | STR & SAGG OF LT ABC 3X70+1X16+1X50 SQMM | MTR | 50 | 53
L0054 | STR & SAGG OF LT ABC 3X50+1X16+1X35 SQMM | MTR | 46 | 54
L0055 | FIXING OF ANCHORING CLAMP | NOS | 154 | 55
L0056 | FIXING OF SUSPENSION CLAMP | NOS | 154 | 56
L0057 | FIXING OF IPC CONNECTOR | NOS | 32 | 57
L0058 | FIXING OF LT DISTRIBUTION BOX | NOS | 507 | 58
L0059 | DISMANT & RETURN TO STORE ACSR 100 3 W | KM | 7202.4 | 59
L0060 | DISMANT & RETURN TO STORE ACSR 50 3 W | KM | 2733.6 | 60
L0061 | DISMANT & RETURN TO STORE ACSR 30 4 W | KM | 3303 | 61
L0062 | DISMANT & RETURN TO STORE ACSR 30 3 W | KM | 2642.4 | 62
L0063 | DISMANT & RETURN TO STORE ACSR 30 2 W | KM | 1981.8 | 63
L0064 | UPROOTING & RETURN TO STORE WOODEN POLE | NOS | 402 | 64
L0065 | UPROOTING & RETURN TO STORE 8 M PCC | NOS | 383 | 65
L0066 | UPROOTING & RETURN TO STORE 9 M PCC | NOS | 594 | 66
L0067 | RE-FIXING OF 1 PH S/C | NOS | 150 | 67
L0068 | FIXING OF 3 PH S/C | NOS | 570 | 68
L0069 | FIXING OF COMPOSITE DTR NEUTRAL EARTHING | NOS | 3816 | 69
L0070 | FIXING OF LT KIOSK S/CKT | NOS | 2155 | 70
L0071 | FIXING OF LT KIOSK D/CKT | NOS | 3012 | 71
L0072 | RE-FIXING OF SERVICE CONNECTION 3 PH | NOS | 193 | 72
L0073 | RE-FIXING OF ANGLE IRON BRACKET | NOS | 487 | 73
L0074 | EXCAVATION OF SOIL FOR MAKING TRIAL HOLE (1.1X0.5X1.2M) | CUM | 34 | 74
L0075 | MICRO-TUNNELLING WORK WITH LAYING OF HDPE PIPE FOR LAYING OF U.G. CABLE INCLUDING SUPPLY OF HDPE PIPE AS PER IS: 4984-1995 INCLUDING PREPARATION AND SUBMISSION OF DRAWING FOR SUCH CABLE LAYING WITH 200MM DIA. HDPE PIPE OF PE-80 PN-6 | M | 2419 | 75
L0076 | LAYING & DRESSING OF CABLE 33 KV XLPE 3 X 400 SQ. MM WITH LOOPING AND RISER | M | 75 | 76
L0077 | SUPPLY & FIXING/ LAYING OF G.I PIPE (MEDIUM) AS PER I.S.I OF THE FOLLOWING SIZES SUITABLE FOR CABLE PROTECTION AS PER INSTRUCTION OF SITE ENGINEER G.I PIPE 200 MM DIA. (MEDIUM) TATA/JINDAL/ EQUIVALENT | M | 2077 | 77
L0078 | MAKING & FIXING OF END TERMINATION JOINT OUTDOOR TYPE FOR 33 KV XLPE CABLE FOR CABLE 33 KV XLPE 3 X 400 SQ. MM | NOS | 2200 | 78
L0079 | SUPPLY & ERECTION OF CAST IRON CABLE MARKER ON CONCRETE FOUNDATION BLOCKS AS PER DRAWING NO. PLN(D)/SS/128 | NOS | 300 | 79
L0080 | FIXING OF 33 KV LA WITH SUPPLY OF BASE PLATE | NOS | 1100 | 80
L0081 | STRINGING & SAGGING BY ACSR 50 4 WIRE | KM | 9715 | 81
L0082 | STRINGING & SAGGING BY ACSR 50 2 WIRE | KM | 6184 | 82
L0083 | FIXING OF 1 PH S/C | NOS | 2254 | 83
L0084 | ERECTION OF RAIL/H-BEAM POLE UPTO 13M LONG HT | NOS | 4141 | 84
L0085 | ERECTION OF DP STRUCTURE RAIL/H-BEAM POLE | NOS | 12421 | 85
L0086 | ERECTION OF 4P STRUCTURE RAIL/H-BEAM POLE | NOS | 31625 | 86
L0087 | FIXING OF PIN INSULATOR 33 KV | NOS | 72 | 87
L0088 | FIXING OF DISC INSULATOR 33 KV | NOS | 107 | 88
L0089 | STRINGING & SAGGING BY ACSR 100 3 WIRE | KM | 16544 | 89
L0090 | RE-FIXING OF SERVICE CONNECTION 1 PH | NOS | 150 | 90
L0091 | ERECTION OF FOUR POLE STRUCTURE BY 8 MTR PCC POLE HL | KM | 30100 | 91
L0092 | ERECTION OF FOUR POLE STRUCTURE BY 8 MTR PCC POLE LL | NOS | 36000 | 92
L0093 | ERECTION OF DOUBLE POLE STRUCTURE BY 8 MTR PCC POLE | NOS | 18000 | 93
L0094 | STRINGING & SAGG. 200 SQ. MM (PANTHER) CONDUCTOR (3 WIRE) | NOS | 30000 | 94
L0095 | LAYING OF 11KV 3X400SQMM XLPE CABLE | NOS | 62000 | 95
L0096 | ERECTION WITH ALL FITTING FP 8MTR PCC POLE FIXING OF ISOLATOR AND CONCRETE STRUCTURE | NOS | 40000 | 96
L0097 | INSTALLATION OF 6.3MVA PTR WITH ALL FITTINGS | NOS | 120000 | 97
L0098 | FIXING OF 33KV CT WITH ALL FITTINGS | NOS | 21000 | 98
L0099 | INSTALLATION OF RTCC PANEL FOR 6.3MVA PTR | NOS | 8000 | 99
L0100 | INSTALLATION OF 33KV CR PANEL FOR PTR | NOS | 15000 | 100
L0101 | INSTALLATION OF 11KV INCOMER | NOS | 15000 | 101
L0102 | INSTALLATION OF BUS COUPLER WITH ADAPTOR | NOS | 15000 | 102
L0103 | LAYING OF 1.1KV CU CONTROL CABLER 4CX2.5 SQMM | NOS | 16000 | 103
L0104 | LAYING OF 1.1KV CU CONTROL CABLER 8CX2.5 SQMM | NOS | 20000 | 104
L0105 | LAYING OF 1.1KV CU CONTROL CABLER 12CX2.5 SQMM | NOS | 20000 | 105
L0106 | FIXING OF 33KV VCB OUTDOOR | NOS | 20000 | 106
L0107 | FIXING OF END TERMINATION JOINT INDOOR 3X400SQMM | NOS | 2023 | 107
L0108 | FIXING OF END TERMINATION JOINT OUTDOOR 3X400SQMM | NOS | 2023 | 108
L0109 | FIXING OF 33KV LIGHTING ARRESTOR | NOS | 6000 | 109
L0110 | PIPE EARTHING COMPLETE | NOS | 3816 | 110
L0111 | LAYING OF 11 KV 3 CORE 95/120 SQMM XLPE UG CABLE | M | 42 | 111
L0112 | LAYING OF 11 KV 3 CORE 185/240 SQMM XLPE UG CABLE | M | 52 | 112
L0113 | CABLE JOINTING ID/OD 11 KV XLPE 3X95/120 SQMM | NOS | 1369 | 113
L0114 | CABLE JOINTING ID/OD 11 KV XLPE 3X185/240 SQMM | NOS | 1685 | 114
L0115 | ERECTION OF 12KV 350MVA,400A I/D SERIES TRIP METERING SWG | NOS | 6628 | 115
L0116 | EARTHING ARRANGEMENT OF THE METERING VCB | NOS | 5038 | 116
L0117 | ERECTION OF 315/250 KVA DTR | NOS | 7248 | 117
L0118 | FIXING OF KIOSK AND MAIN SWITCH AND COMPLETE CONNECTION WITH PVC CABLE | NOS | 2155 | 118
L0119 | LAYING OF 11 KV 4 CORE 95/120 SQMM XLPE UG CABLE | MTR | 31 | 119
L0120 | LAYING OF 11 KV 4 CORE 185 SQMM XLPE UG CABLE | MTR | 39 | 120