## Mat
Materials Code | Description | Unit | Rate(Rs) | mat_sl | Type
110030141 | P C C POLE : 8M LONG | NOS | 5363.44 | 1 | Central
110030241 | P C C POLE : 9M LONG | NOS | 10198.28 | 2 | Central
110010341 | STEEL TUBULAR POLE 9 M LONG (WITH CAP) | NOS | 11550.45 | 3 | Central
110011541 | STEEL TUBULAR POLE 9.5M LONG (WITH CAP) | NOS | 16598.41 | 4 | Central
110010741 | STEEL TUBULAR POLE 11 M LONG (WITH CAP) | NOS | 17887.87 | 5 | Central
110020711 | RAIL POLE (11-13 M LONG) 52 KG | MT | 93806.05 | 6 | Central
110051211 | WIDE FLANGE BEAM: 13 M LONG WBP160X160X30.44 KG/M WITH GRADE E360 | MT | 65952.78 | 7 | Central
102010911 | 149.5 CHANNEL 100X5ONINI | MT | 109813.95 | 8 | Central
102010611 | •M.S CHANNEL 75X40 MM | MT | 110043.09 | 9 | Central
101011311 | M S.ANGLE 65X65X6 MM | MT | 108667.24 | 10 | Central
101011011 | M.S ANGLE 50X50X6 MM | MT | 109603.22 | 11 | Central
103011211 | M.S FLAT 50X6 MM | MT | 117623.3 | 12 | Central
103011511 | M.S FLAT 65X6 MM | MT | 117493.74 | 13 | Central
103011611 | M,S FLAT 65X8 MM | MT | 114149.39 | 14 | Central
103011911 | M.S FLAT 753{8 MM | MT | 114255.68 | 15 | Central
103012311 | M.S FLAT 75X12 MM | MT | 114336.31 | 16 | Central
504130432 | GI STAY SET HT(1830X20MM)WRKG LD•7900ICG | NOS | 795.83 | 17 | Central
504130332 | Cl STAY SET LT(1680X16MM)WRKG LD•5100KG | NOS | 462.17 | 18 | Central
504110541 | G 1 EARTH SPIKE 1833X20MM | NOS | 367.98 | 19 | Central
503010711 | G.I. WIRE 4 MM | MT | 137360.98 | 20 | Central
503010811 | G.I WIRE 5 MM | MT | 13686598 | 21 | Central
503050911 | G.1. STAY WIRE 7 / 4 MM (8 SWG) | MT | 141692.18 | 22 | Central
503050711 | 6.1. STAY WERE 7/ 3.15KM (10 SWG) | MT | 142310.93 | 23 | Central
503050611 | G.I. STAY WIRE 7/ 2.5MM (12 SWG) | MT | 145404.64 | 24 | Central
508020432 | 33KV PORCELAIN POST INSULATOR (STACK TYPE) | NOS | 1153.01 | 25 | Central
508011041 | 33 KV POLYMER COMPOSITE WITH FITTINGS PIN INSULATOR (10KN- 900MM CREEPAGE DISTANCE) | NOS | 678.15 | 26 | Central
508030641 | 33 KV POLYMER comPosit WITH FITTINGs 70KN DISC INSULATOR | NOS | 326.7 | 27 | Central
508020341 | 11KV PORCELAIN POST INSULATOR | NOS | 289.57 | 28 | Central
508011141 | 11 KV POLYMER COMPOSITE WITH FITTINGS PIN INSULATOR (5KN- 320MM CREEPAGE DISTANCE) | NOS | 243.79 | 29 | Central
508030541 | 11 KV POLYMER COMPOSITE 45KN DISC INSULATOR | NOS | 183.15 | 30 | Central
504010132 | COMPOSITE HARDWARE FITTINGS FOR ACSR WEASEL/ RABBIT (30 /50SQMM)C01NDUCTOR | SET | 327.83 | 31 | Central
504010232 | COMPOSITE HARDWARE FITTINGS SUITABLE FOR ACSR DOG1100SQMM)CONDUCTOR | SET | 518.96 | 32 | Central
504010332 | SINGLE TENSION HARDWARE FITTINGS FOR ACSR WOLF 1[150SQMM) CONDUCTOR | SET | 1354.91 | 33 | Central
504010432 | SINGLE SUSPENSION HARDWARE FITTINGS FOR ACSR WOLF (150SQMNI)CONDUCTOR | SET | 647.62 | 34 | Central
504010532 | SINGLE TENSION HARDWARE FITTINGS FOR PANTHER (200SQMM)CONDUCTOR | SET | 1683.48 | 35 | Central
504010632 | SINGLE SUSPENSION HARDWARE FITTINGS FOR PANTHER (200SQMM) CONDUCTOR | SET | 730.12 | 36 | Central
309010541 | LIGHTNING ARRESTER 42KV 10 KA PORCELAIN HOUSED GAPLESS TYPE FOR 33KV SYSTEM I | NOS | 762827 | 37 | Central
309010841 | LIGHTNING ARRESTER 12 KV 5KA PORCELAIN HOUSED GAPLESS TYPEFOR 11KV SYSTEM | NOS | 524.23 | 38 | Central
309011041 | LIGHTNING ARRESTER 12 KV 10KA PORCELAIN HOUSED STATION CLASS | NOS | 2905.62 | 39 | Central
304010632 | TPGO ISOLATOR : 11 KV :400 AMP. | SET | 19138.97 | 40 | Central
304010532 | TPGO ISOLATOR : 11 KV : 200 AMP. | SET | 10384.98 | 41 | Central
304010332 | 33 KV 400 A TPGO ISOLATOR (ROCKI NG TYPE} | SET | 40318.52 | 42 | Central
304022332 | 33 KV 400 A CR TYPE ISOLATOR WITHOUT EARTH SWITCH (HIGH LEVEL) | SET | 41924.78 | 43 | Central
304020832 | 33 KV 400 A CR TYPE ISOLATOR WITHOUT EARTH SWITCH (LOW LEVEL) | SET | 41486.71 | 44 | Central
304021132 | 33 KV 400 A CR TYPE ISOLATOR WITH EARTH SWITCH (HIGH LEVEL) | SET | 55615.93 | 45 | Central
502010321 | ACSR SQUIRM. (20 SQMM) CONDUCTOR | KM | 25658.05 | 46 | Central
502010621 | ACSR WEASEL (30SQMM) CONDUCTOR | KM | 38139.33 | 47 | Central
502010921 | ACSR RABBIT (50SQMM) CONDUCTOR | KM | 62290.12 | 48 | Central
502011221 | ACSR DOG (100SQMM) CONDUCTOR | KM | 122653.45 | 49 | Central
502011521 | ACSR WOLF (15051)MM) CONDUCTOR | KM | 203337.56 | 50 | Central
502011821 | COND ACSR PNTH 200SMNI | KM | 271669.29 | 51 | Central
501012921 | CABLE(PVC 1.1 KV GRADE) 2CX4SQMM | KM | 43310.09 | 52 | Central
501013021 | CABLE(PVC 1.1 KV GRADE) 2CX6SQMM | KM | 44410.5 | 53 | Central
501017421 | CABLE{PVC 1,1 KV GRADE) 4CORE X1 OSQMM | KM | 125852.36 | 54 | Central
501017821 | CABLE(PVC 1.1 KV GRADE] 4CX25SQMM | KM | 229429.95 | 55 | Central
501017921 | CABLE(PVC 1.1 KV GRADE] 4CXSOSQMM | KM | 248238.29 | 56 | Central
501018121 | CABLE(PVC 1.1 KV GRADE) 4CX120SQMM | KM | 481307.89 | 57 | Central
501018221 | CABLE(PVC 1.1 KV GRADE) 4CX185SQMM | KM | 781231.73 | 58 | Central
501018321 | CABLE(PVC 1.1 KV GRADE] 4CX3005QMM | KM | 1277593.58 | 59 | Central
501021121 | CABLE(XLPE Li KV) 1CX630 SQMM | KM | 855321.69 | 60 | Central
501022321 | CABLE (XLPE 1.1 KV) 4 C X SOSQMM | KM | 354938.27 | 61 | Central
501022421 | CABLE (XLPE 1.1 KV ) 4 C X 120501M | KM | 751027.94 | 62 | Central
501022521 | CABLE (XLPE 1.1 KV ) 4 C X 1855QMM | KM | 1168081.89 | 63 | Central
501022621 | CABLE (XLPE 1.1 KV) 4 C X 300SQMM | KM | 1777071.1 | 64 | Central
501023621 | CABLE(XLPE 11 KV) 1CX1000SQMM | KM | 1685372.9 | 65 | Central
501023821 | CABLE(XLPE 11 KT) 3CX955QMM | KM | 1046828.46 | 66 | Central
501023921 | CABLE(XLPE 11 KV) 3CX1855QMM | KM | 1229138.19 | 67 | Central
501024121 | CABLE(XLPE 11 KV) 3•CX300SQM1Y/ | KM | 1768380.17 | 68 | Central
501024221 | CABLE( XLPE 11KV) 3 CX 400SQMM | KM | 2179818.59 | 69 | Central
501025421 | CABLE(XLPE 33 KV) 1X1000 SQMM | KM | 2083227.79 | 70 | Central
501024921 | CABLE(XLPE 33 KV) 3CX185SQMM | KM | 2390241.81 | 71 | Central
501025221 | CABLE(XLPE 33 KV) 3X400SQMM | KM | 2950761.2 | 72 | Central
501030421 | CABLE(LT AERIAL BUNCHED 1.1 KV) 3CX50-1CX16+1CX35SQMM | KM | 237394.49 | 73 | Central
501030521 | CABLE(LT AERIAL BUNCHED 1.1 KV) 3CX70+1CX16+1CX5OSQMM | KM | 315558.99 | 74 | Central
501031121 | CABLE(HT AERIAL BUNCHED 11 KV) 3CX95+1CX7OSQMM | KM | 879877.46 | 75 | Central
501041121 | CABLE( COPPER CONTROL 1.1 KV) 12 C X 2.55QMM | KM | 420547.33 | 76 | Central
501041021 | CABLE( COPPER CONTROL 1.1 ICU) 8 E X 2.55QMM | KM | 281825.12 | 77 | Central
501040721 | CABLE( COPPER CONTROL 1.1 KV) 4C X 2.5SOIM | KM | 157705.25 | 78 | Central
301011041 | DTR 16KVA 11/0.4331W | NOS | 89547.19 | 79 | Central
301018141 | DTR 25 KVA 11/0.433KV | NOS | 103528.11 | 80 | Central
301018241 | DTR 63 KVA 11/0.433KV | NOS | 197568.41 | 81 | Central
301018341 | DTR 100 KVA 11/0.433KV | NOS | 248239.75 | 82 | Central
3010113741 | DTR 160 KVA 11/0.433KV | NOS | 318579.7 | 83 | Central
301019641 | DTR 250 KVA 11/0.433KV -OUTDOOR TYPE | NOS | 674147.87 | 84 | Central
301019041 | DTR 315 KVA 11/0.43311V -INDOORTYPE | NOS | 987447.23 | 85 | Central
301019141 | DTR 315 KVA 11/0.433KV -OUTDOORTYPE | NOS | 9.85286.54 | 86 | Central
301019341 | DTR 630KVA 11/0.415K-ft-OUTDOOR & OIL COLLING TYPE | NOS | 184384208 | 87 | Central
301019741 | DTR 315KVA 11/0.415KV-OUTDOOR & DRY VPI TYPE | NOS | 2454693.87 | 88 | Central
301019541 | DTR 630KVA 11/0.415KV-OUTDOOR & DRY VPI TYPE | NOS | 3505551.1 | 89 | Central
301019441 | DTR 630KVA 11/0.415KV-INDOOR & DRY VPI TYPE | NOS | 3505551.1 | 90 | Central
301021241 | 6.3 MVA 33/11KV POWER TRANSFORMER | NOS | 11415656.07 | 91 | Central
301022041 | RTCC PANEL FOR 6.3 MVA TRANSFORMAR | NOS | 89074.27 | 92 | Central
301021741 | 10 MVA 33/11KV POWER TRANSFORMER | NOS | 13287983.2 | 93 | Central
301022141 | RTCC PANEL FOR 10 MVA TRANSFORMAR | NOS | 8907427 | 94 | Central
301018541 | 100 KVA 33/0.415 KV STATION SERVICE TRANSFORMER | NOS | 481555.9 | 95 | Central
908010252 | TRANSFORMER OIL (EHV GRADE) | NOS | 127665.28 | 96 | Central
901031241 | 30V 3SA AUTO & MANUAL, FLOAT-CUM-BOOST, THYRISTOR CONTROLLED BATTERY RGER. CHARGER. | SET | 113898.24 | 97 | Central
501021132 | 30V 100 AH PLANTE TYPE LEAD ACID BATTERY | SET | 144142.4 | 98 | Central
901040332 | STAND ERD ACCESSORIES OF 30V 100 AH PLANTE TYPE BATTERY BATTERY | SET | 16330.86 | 99 | Central
301032241 | 33 KV PT: 1 PHASE OD TYPE :RATIO : 33 / V3 / 0.11 / V 3 KV | NOS | 26649.27 | 100 | Central
301051641 | 33 KV CT (1 PHASE) : OD TYPE : DUAL CORE CT RATIO-400 - 200 / 1 -1 A | NOS | 37849.26 | 101 | Central
301054741 | 33 KV CT (1 PHASE) : OD TYPE; DUAL CORE CT RATIO-200 - 100 / 1 -1 -LA | NOS | 51838.3 | 102 | Central
301055641 | 33 KV CT (1 PHASE) : OD TYPE : DUAL CORE CT RATIO-100 - 50 / 1 -1A | NOS | 54028.65 | 104 | Central
301061441 | LT CURRENT TRANSFORMERRING TYPE RATIO-200/5 AMPS | NOS | 547.59 | 105 | Central
301065141 | LT CURRENT TRANSFORMER, RING TYPE(TAPE WOUND), RATIO-400/5 AMPS, ACCURACY CLASS 0.55 | NOS | 452.68 | 106 | Central
301070541 | 11 KV COMBINED CT & PT WITH CT RATIO 200-100/1A, PT 11000/110V | NOS | 55747.5 | 107 | Central
301070741 | 11 KV COMBINED CT & PT WITH CT RATIO 300-150/1A, PT 11000/110V | NOS | 74402.57 | 108 | Central
301070641 | 11 KV COMBINED CT & PT WITH CT RATIO 200-100/5A, PT 11000/110V | NOS | 55747.5 | 109 | Central
301070841 | 11 KV COMBINED CT ,& PT WITH CT RATIO 300-150/5A, PT 11000/110V | NOS | 74402.57 | 110 | Central
302030341 | 36 KV VCB : 750 MVA 1000/1250 AMPS :O/D- TYPE, 30V DC | NOS | 297887.7 | 111 | Central
303071932 | 33KVIDVCBPNL INCOMER WITHOUT C&R PANEL | SET | 1013067.85 | 112 | Central
303072032 | 33KVIDVCBPNL OUTGOING WITHOUT C&R PANEL | SET | 1014236.04 | 113 | Central
303072132 | 33KVIDVCBPNL FOR POWER TRANSFORMER WITHOUT C&R PANEL | SET | 1029860.54 | 114 | Central
303072232 | 33KVIDPNL FOR 8115 PT | SET | 616760.4 | 115 | Central
303072332 | 33KVIDPNL FOR BUS COUPLER WITH BUS SECTION PANEL | SET | 1306533.95 | 116 | Central
303072432 | 33KVIDPNL FOR STATION TRANSFORMER | SET | 727300.1 | 117 | Central
303071232 | 33KVIDVCB9PNL(21+1 0-1-21R+2BPT-1-1BC+115L) | SET | 8367447.65 | 118 | Central
303071332 | 33KVIDVCB1OPNL(21+20+2TR+2BPT+1BC+11SL) | SET | 9407191.04 | 119 | Central
303071432 | 33KVIDVCB13PNL(31+10+3TR+3BPT+2BC+1ISL) | SET | 12449405.58 | 120 | Central
305015241 | 33KV C&R PANEL, WITH DIFFERENTIAL RELAY SCADA COMPATIBLE FOR INDIVIDUAL TRANSFORMER | Nos | 417159.59 | 121 | Central
305015141 | 33KV C&R PANEL, WITH DIRECTIONAL RELAY, SCADA COMPATIBLE FOR FEEDER CONTROL | NOS | 264156.29 | 122 | Central
303050441 | 12 KV 350MVA,400A SERIES TRIP METERING SWG COMPLETE WITH CTR-100-50/5-5A, PTR 11000/110V | NOS | 353271.4 | 123 | Central
303050341 | 12 KV 350MVA,400A SERIES TRIP SWG COMPLETE WITH CTR-S0-25/5-5A, PTR 11000/110V | NOS | 331927.23 | 124 | Central
303060432 | 12 KV 350MVA RMU METERING SWG CT RATION 100-50/5-5A, PTR 11000/110V | SET | 702372.45 | 125 | Central
303060332 | 12 KV 35OMVA RMU METERING SWG CT RATION 50.25/5-5A, PTR 11000/110V | SET | 716974.7 | 126 | Central
303030732 | SCADA350MVA800/1250A-1N1BCOOG0 (ONE INCOMING PANEL ONLY) | SET | 538481.65 | 127 | Central
303030832 | SCADA35LIMVA800/1250A-INO8C106 0 (ONE BUS COUPLER PANEL ALONG WITH ADOPTER | SET | 400737.8 | 128 | Central
303030932 | SCADA350MVA 800/12 50A-INOBCOOG1 (ONE OUTGOING PANEL ONLY) | SET | 480161.38 | 129 | Central
303031532 | SWITCHGEAR(SHUNT TRIP) WITH VCB (12 KV 350MVA 1250/800A) 2 PNL(0+0+2) | SET | 960322.75 | 130 | Central
303037332 | 112 KV SCADA COMPATIBLE SHUNT TRIP SWITIHGEAR PANEL WITH VCB 2 PANEL (0+1+1) | SET | 880899.17 | 131 | Central
303037232 | 12 KV SCADA COMPATIBLE SHUNT TRIP SWITCHGEAR PANEL WITH VCR 2 PANEL (1+ 1+ 0 ) | SET | 939219.45 | 132 | Central
303041132 | SWITCHGEAR(SHUNT TRIP] WITH VCB (12 KV 350MVA 1250/800A) 2 PNL(1+0+1) | SET | 1018643.03 | 133 | Central
303032432 | SWITCHGEAR(SHUNT TRIP) WITH VCB (12 KV 350MVA 1250)8004) 3 PNI,(0+0+3) | SET | 1440484.14 | 134 | Central
303041432 | SWITCHGEAR(SHIINT TRIP) WITH VCB (12 KV 35OMVA 1250/800A) 3 PNL(1+0+2) | SET | 14.988 | 135 | Central
303036832 | SWITCHGEAR{SHUNT TRIP) WITH VCB (12 KV 350MVA 1250/800A) 3 PNL(1+1+1) | SET | 1419380.83 | 136 | Central
303032732 | SWITCHGEAR(SHUNT TRIP) WITH VCB (12 KV 3SOMVA 1250/800A) 4 PNL(1+0+3) | SET | 1978965.79 | 137 | Central
303037132 | SWITCHGEAR(SHUNT TRIP] WITH VCB (12 KV 350MVA 1250/800A) 4 PNL 1+1+2 | SET | 1899542.21 | 138 | Central
303036732 | SWITCHGEAR(SHUNT TRIP) WITH VCB (12 KV 350MVA 1250/800A) 5 PNL(2+1+2) | SET | 2438023.86 | 139 | Central
303036632 | SWITCHGEAR(SHUNT TRIP) WITH VCB (12 KV 350MVA 1250/800A) 7 PNL(2+1+4) | SET | 339834663 | 140 | Central
303042332 | SWITCHGEAR(SHUNT TRIP) WITH VCB {12 KV 350MVA 1250/8004) 8 PNL(2+1+5) | SET | 3878508 | 141 | Central
303033632 | SWITCHGEAR(SHUNT TRIP) WITH VCB (12 KV 350MVA 1250/800A) 8 PNL(2+2+4) | SET | 3799.084..42 | 142 | Central
303033932 | SWITCHGEAR(SHUNT TRIP) WITH VCR (12 KV 350MVA 1250/13004) 9 PNL (2+1+6) | SET | 4358669.32 | 143 | Central
303036532 | SWITCHGEAR(SHUNT TRIP) WITH VCB (12 KV 350MVA 1250/8004) 9 PSIL(3+2+4) | SET | 4337566.07 | 144 | Central
303034232 | SWITCHGEAR(SHUNT TRIP) WITH VCB (12 KV 350MVA 1250/800A) 10 PNL(2+1+7) | SET | 483883076 | 145 | Central
303034532 | SWITCHGEAR(SHUNT TRIP) WITH VCR (12 KV 350MVA 1250/800A) 10 PNL(2+2+6) | SET | 4759407.18 | 146 | Central
303034832 | SWITCHGEAR(SHUNT TRIP) WITH VCB (12 KV 3SOMVA 1250/800A) 10 PNL{3+2+5) | SET | 4817727.45 | 147 | Central
303035132 | SWITCHGEAR(SHUNT TRIP) WITH VCB (12 KV 350MVA 1250/000A) 11 PNL(2+1+8) | SET | 5318992.14 | 148 | Central
303043532 | SWITC.HGEAR(SHUNT TRIP) WITH VCR (12 KV 350MVA 1250/8004) 11 PNL(3+2+6) | sET | 5297888.83 | 149 | Central
303035432 | SWITCHGEAR(SHUNT TRIP) WITH VCI3 (12 KV 350MVA 1250/800A) 13 PNL(4+3+6) | SET | 6237.108.28 | 150 | Central
303043832 | SWITCHGEAR(SHUNT TRIP) WITH UGH (12 KY 35014VA 1250/8004) 14 PNL(3+2+9) | SET | 6738372.97 | 151 | Central
303035732 | SWITCHGEAR(SLIUNT TRIP) WITH VCB (12 KV 350MVA 1250/800A) 14 PNL(3+3+8) | SET | 665894939 | 152 | Central
303036032 | SWITCHGEAR(SHUNT TRIP) WITH VCB (12 KV 350MVA 1250/8004) 14 PNL(4+3+ 7) | SET | 6717269.66 | 153 | Central
303044132 | SWITCHGEAR(SHUNT TRIP) WITH VCS (12 KV 3SOMVA 1250/800A) 15 PNL (4+3+13) | SET | 7197431.04 | 154 | Central
303062132 | SCADA RMU, 11KV OUTDOOR NON-EXTENSIBLE 3-WAY (2 LBS+ 2 OG) | SET | 820192.38 | 155 | Central
303062232 | SCADA RMU, 11KV OUTDOOR NON-EXTENSIBLE 4-WAY (2 LBS+ 2 OG) FOR OIL COOLED 315KVA DTR | SET | 870248.23 | 156 | Central
303062332 | SCADA RMU, 11KV OUTDOOR NON-EXTENSIBLE 4-WAY (2 LBS+ 2 OG) FOR OIL COOLED 630KVA DTR | SET | 893213.32 | 157 | Central
401010741 | SINGLE PHASE 2W STATIC METER (5-30)A WITH P.P. BOX | NOS | 1173.14 | 158 | Central
401021541 | SINGLE PHASE 2W STATIC METER (5-30)A WITHOUT P.P. BOX | NOS | 6781.43 | 159 | Central
401021441 | THREE PHASE 4W (5-30)A, DLMS, WHOLE CURRENT STATIC METER | NOS | 7058.15 | 160 | Central
401021741 | THREE PHASE 4W STATIC METER (10-60)A WITH PP BOX & LPR | NOS | 6546.31 | 161 | Central
401011541 | 1 PHASE SMART METER WITH BOX AND DATA CARD | NOS | 5528.45 | 162 | Central
401022141 | 3 PHASE SMART METER WITH BOX AND DATA CARD | NOS | 7463.26 | 163 | Central
401010541 | PREPAID1PHACSTAT.MTR.(5-30A)WHPPBOX | NOS | 7410.32 | 164 | Central
401010841 | 1PHACSTAT.MTR.(10-60A)PRE-PAID WHSLNO | NOS | 8056.64 | 165 | Central
401021641 | 3PH4WACSTAT.MTR.(20-80A)PRE-PAIDWHSLNO | NOS | 16303.88 | 166 | Central
401010941 | 1P 2W 5-30A EXPORT/IMPORT MTR WHSLNO | NOS | 2095.44 | 167 | Central
401021241 | THREE PHASE STATIC METER (5-30)A IMPORT-EXPORT TYPE | NOS | 6106.99 | 168 | Central
401021341 | THREE PHASE STATIC METER (20-100)A IMPORT-EXPORT TYPE | NOS | 6730.69 | 169 | Central
401034441 | 3P4W LTCT EXPORT IMPORT BLK MTR WHSLNO | NOS | 6720.42 | 170 | Central
401034541 | 3P4W 11KV EXPORT IMPORT BLK MTR WHSLNO | NOS | 9598.76 | 171 | Central
401034641 | 3P4W 33KV EXPORT IMPORT BLK MTR WHSLNO | NOS | 9598.76 | 172 | Central
401034841 | 3P4W 132KV EXPORT IMPORT BLK MTR WHSLNO | NOS | 43310.77 | 173 | Central
401034041 | 3PH 4 W LT TOD METER CT RATIO 200/5 A FOR LT BULK | NOS | 6059.98 | 174 | Central
401034141 | 3PH 4 W DLMS WITH CT RATIO 50/5 A FOR 11KV BULK | NOS | 8819.82 | 175 | Central
401033941 | 3PH 4 W CT/PT OPERATED CT RATIO 100/1 A FOR 33 KV BULK | NOS | 9243.28 | 176 | Central
401030541 | 3 PHASE 4WIRE STATIC 132 KV CT-PT OPERATED HT TRIVECTOR TOD FOR 132 KV BULK,0.2S | NOS | 40740.53 | 177 | Central
401033441 | 1 PH 2 W STATIC 25 KV CT-PT OPERATED TRIVECTOR TOD ENERGY METER FORTRACTION APPLICATION, 0.2S | NOS | 37447.22 | 178 | Central
401030641 | 1 PH 2W STATIC 132 KV CT-PT OPERATED TRIVECTOR TOD ENERGY METER FOR 132 KV TRACTION POWER,0.2S | NOS | 42755.16 | 179 | Central
401032141 | HT 11KV FEEDER METER | NO | 8650.04 | 180 | Central
401034241 | 3-PH 4-WIRE (1A) AMR,TRI-VECTOR FEEDER METER FOR 33 KV SUB-STN | NOS | 9308.63 | 181 | Central
401034741 | MULTI-FEEDER METERING RACK WITH SUMMATION UNIT FOR TWO FEEDER SUMMATION | NOS | 775530.16 | 182 | Central
401031341 | 3PH 4 W CT OPERATED FULLY STATIC AMR,TRI-VECTOR DLMS METER FOR DTR | NOS | 6104.51 | 183 | Central
401034340 | 3PH4W 11KV(1A)BOUNDARY MTR WH SL NO | NOS | 12842.64 | 184 | Central
902021440 | POLYCARBONATE SECURITY SEAL (PATENTED) 20 CM(LIGHT GREEN COLOUR) | NOS | 7.16 | 185 | Central
504122141 | RE-WIRABLE PORCELAIN CUT OUT FUSE UNIT 16AMP | NOS | 109.23 | 186 | Central
504122241 | RE-WIRABLE PORCELAIN CUT OUT FUSE UNIT 32 AMP | NOS | 174.94 | 187 | Central
504122341 | RE-WIRABLE PORCELAIN CUT OUT FUSE UNIT 63 AMP | NOS | 385.21 | 188 | Central
504122441 | RE-WIRABLE PORCELAIN CUT OUT FUSE UNIT 100 AMP | NOS | 649.37 | 189 | Central
504122541 | RE-WIRABLE PORCELAIN CUT OUT FUSE UNIT 200 AMP | NOS | 1385.33 | 190 | Central
504122641 | RE-WIRABLE PORCELAIN CUT OUT FUSE UNIT 300 AMP | NOS | 2335.5 | 191 | Central
504122741 | RE-WIRABLE PORCELAIN CUT OUT FUSE UNIT 400 AMP | NOS | 3425.13 | 192 | Central
504122841 | RE-WIRABLE PORCELAIN CUT OUT FUSE UNIT 500 AMP | NOS | 4080.77 | 193 | Central
113020641 | 11KV "V" BRACKET FOR PCC POLE 8M LONG | NOS | 1294.37 | 194 | Local
113020741 | 11KV "V" BRACKET FOR PCC POLE 9M LONG | NOS | 1314.19 | 195 | Local
113020841 | 11 KV "V" BRACKET FOR RAIL POLE | NOS | 1315.56 | 196 | Local
113020941 | 33KV "V" BRACKET FOR PCC POLE 9M LONG | NOS | 1998.99 | 197 | Local
113021141 | 33 KV "V" BRACKET FOR RAIL POLE | NOS | 2259.3 | 198 | Local
113021241 | 11 KV TOP ADAPTOR for PCC pole 8M long | NOS | 433.67 | 199 | Local
113021341 | 11 KV TOP ADAPTOR for PCC pole 9M long | NOS | 478.12 | 200 | Local
113021441 | 11 KV TOP ADAPTOR for rail pole | NOS | 523.41 | 201 | Local
113021541 | 33 KV TOP ADAPTOR for PCC pole 9M long | NOS | 1288.1 | 202 | Local
113021641 | 33 KV TOP ADAPTOR for rail pole | NOS | 807.35 | 203 | Local
407010241 | LT MTR KIOSK 415V STLSHT COVR | NOS | 15366.01 | 204 | Local
407010541 | LT distribution KIOSK for 100KVA TRNF. | NOS | 8878.41 | 205 | Local
407010641 | LT DISTRIBUTION KIOSK FOR 25KVA TRNF. | NOS | 9441.26 | 206 | Local
407010741 | LT DISTRIBUTION KIOSK FOR 63KVA TRNF. | NOS | 10456.61 | 207 | Local
407010841 | LT DISTRIBUTION KIOSK FOR 315KVA TRNF. | NOS | 17903.46 | 208 | Local
912011441 | TURN BUCKLE 18 X 5/8" | NOS | 238.7 | 209 | Local
912013341 | TURN BUCKLE 18 x 3/4" | NOS | 281.47 | 210 | Local
505011141 | CLAMP P.G. - A.C.S.R. DOG | NOS | 334 | 211 | Local
505010641 | PG CLMP-WSL/RBT.( 30/50SMM) | NOS | 187.88 | 212 | Local
505031541 | D IRON CLAMP 3" x 3.5" | NOS | 47.83 | 213 | Local
505031641 | UPPER CLAMP - L.T.BKT.50X6 FLAT(PCC POLE) | NOS | 108.78 | 214 | Local
505031741 | LOWER CLAMP - L.T.BKT.50X6 FLAT(PCC POLE) | NOS | 110.58 | 215 | Local
505034941 | CLAMP FOR 8M PCC POLE | NOS | 190 | 216 | Local
505035041 | CLAMP FOR 9M PCC POLE | NOS | 214.38 | 217 | Local
505035141 | CLAMP FOR 8M PCC POLE(BOT) | NOS | 210 | 218 | Local
505035241 | CLAMP FOR 9M PCC POLE(BOT) | NOS | 249.76 | 219 | Local
506010331 | SHACKLE STRAP BIG 185 X 30 X 3 | PAA | 45.38 | 220 | Local
506010531 | GI SHACKLE STRAP 9" WITH NUT & BOLT | PAA | 59.21 | 221 | Local
503020312 | AL. BINDING WIRE 5MM/6SWG | KG | 477.4 | 222 | Local
903013212 | AL BINDING TAPE - 1/4" | KG | 529.58 | 223 | Local
903013545 | PLASTIC TAPE - NON ADHESIVE - 1" | ROL | 30 | 224 | Local
508040641 | CI REEL INSULATOR | NOS | 44.16 | 225 | Local
508040341 | PORCELAIN SHACKLE INSULATOR 2" X 21/2" | NOS | 20 | 226 | Local
508040441 | PORCELAIN SHACKLE INSULATOR 3" x 31/2" | NOS | 23.34 | 227 | Local
508040841 | PORCELAIN GUY INSULATOR HT | NOS | 52.24 | 228 | Local
508040741 | PORCELAIN GUY INSULATOR LT | NOS | 21.11 | 229 | Local
504070341 | LT SPACER - 1 PHASE 2 WIRE | NOS | 35.51 | 230 | Local
504070641 | LT SPACER - 2 PHASE 3 WIRE | NOS | 59.08 | 231 | Local
504070441 | LT SPACER - 3 PHASE 4 WIRE | NOS | 77.62 | 232 | Local
504070541 | LT SPACER - 3 PHASE 5 WIRE | NOS | 94.79 | 233 | Local
504042641 | 11KV I/D HS Ter.Jnt.FOR3x95SMM XLPE CAB | NOS | 5188.33 | 234 | Local
504043241 | 11KV I/D HS Ter.Jnt.FOR3x185SMM XLPE CAB | NOS | 5833.67 | 235 | Local
504043841 | 11KV I/D HS Ter.Jnt.FOR3x300SMM XLPE CAB | NOS | 7242.94 | 236 | Local
504042541 | 11KVO/D HS Ter.Jnt.FOR3x95SMM XLPE CAB | NOS | 6863.1 | 237 | Local
504043141 | 11KVO/D HS Ter.Jnt.FOR3x185SMM XLPE CAB | NOS | 8166.53 | 238 | Local
504043741 | 11KVO/D HS Ter.Jnt.FOR3x300SMM XLPE CAB | NOS | 8963.63 | 239 | Local
504042741 | 11KV ST THR. HS JNT.FOR3x95SMM XLPE CAB | NOS | 13095.63 | 240 | Local
504057941 | 11KVST.THR.TRANSITIONJnt.FOR3x185SMM CAB | NOS | 16285.44 | 241 | Local
504043941 | 11KV ST THR. HS JNT.FOR3x300SMM XLPE CAB | NOS | 17000 | 242 | Local
504047341 | 11KV ST THR. HS JNT.FOR3x400SMM XLPE CAB | NOS | 17779.39 | 243 | Local
504045041 | 33KV I/D HS Ter.Jnt.FOR3x185SMM XLPE CAB | NOS | 17099.22 | 244 | Local
504045641 | 33KV I/D HS Ter.Jnt.FOR3x300SMM XLPE CAB | NOS | 18155.46 | 245 | Local
504045941 | 33KV I/D HS Ter.Jnt.FOR3x400SMM XLPE CAB | NOS | 19392.95 | 246 | Local
504049741 | 33KVI/D HS Ter.Jnt.FOR1x1000SMM XLPE CAB | NOS | 7096.74 | 247 | Local
504044941 | 33KVO/D HS Ter.Jnt.FOR3x185SMM XLPE CAB | NOS | 19139.45 | 248 | Local
504045541 | 33KVO/D HS Ter.Jnt.FOR3x300SMM XLPE CAB | NOS | 24604.72 | 249 | Local
504045841 | 33KVO/D HS Ter.Jnt.FOR3x400SMM XLPE CAB | NOS | 26532.72 | 250 | Local
504049541 | 33KVO/D HS Ter.Jnt.FOR1x1000SMM XLPE CAB | NOS | 8761.41 | 251 | Local
504045141 | 33KV ST THR. HS JNT.FOR3x185SMM XLPE CAB | NOS | 40255.18 | 252 | Local
504045741 | 33KV ST THR. HS JNT.FOR3x300SMM XLPE CAB | NOS | 41448.16 | 253 | Local
504046041 | 33KV ST THR. HS JNT.FOR3x400SMM XLPE CAB | NOS | 42778.21 | 254 | Local
504049641 | 33KV ST THR.HS JNT.FOR1x1000SMM XLPE CAB | NOS | 19713.16 | 255 | Local
504054141 | 1.1KV ST THR. JNT.FOR(4/3.5x50SMM) | NOS | 1586.81 | 256 | Local
504054341 | 1.1KV ST THR. JNT.FOR(4/3.5x95SMM) | NOS | 2605.14 | 257 | Local
504054441 | 1.1KV ST THR. JNT.FOR(4/3.5x120SMM) | NOS | 3370.25 | 258 | Local
504054541 | 1.1KV ST THR. JNT.FOR(4/3.5x185SMM) | NOS | 4202.6 | 259 | Local
504054641 | 1.1KV ST THR. JNT.FOR(4/3.5x240SMM) | NOS | 4307.69 | 260 | Local
504054741 | 1.1KV ST THR. JNT.FOR(4/3.5x300SMM) | NOS | 4322.33 | 261 | Local
504054841 | 1.1KV ST THR. JNT.FOR(4/3.5x400SMM) | NOS | 4500 | 262 | Local
504055141 | 1.1KV TEE JNT.FOR(4/3.5x50-25/16 SMM) | NOS | 4472.8 | 263 | Local
504055241 | 1.1KV TEE JNT.FOR(4/3.5x70-25/16 SMM) | NOS | 6709.2 | 264 | Local
504055341 | 1.1KV TEE JNT.FOR(4/3.5x95-25/16 SMM) | NOS | 7348.17 | 265 | Local
504023041 | PAD-CON.FOR 11KV(1X95 SMM) ABC | NOS | 486.77 | 266 | Local
504022941 | WEDGE-CON.FOR 11KV(1X95 SMM) ABC | NOS | 524.23 | 267 | Local
504053341 | 11KV I/D HS Ter.Jt.FOR(1x95SQ MM)ABC | NOS | 1865.94 | 268 | Local
504053241 | 11KV O/D HS Ter.Jt.FOR(1x95SQ MM)ABC | NOS | 2439.09 | 269 | Local
504053441 | 11KV ST THR. HS Jt.FOR(1x95SQ MM)ABC | NOS | 5501.88 | 270 | Local
504038541 | TEE JNT TAP OFF 11KV ABC TO DTR-1X95SMM | NOS | 5214.5 | 271 | Local
504026841 | INSULATION-PIERCING CONNECTOR (ABC) - 16SQ MM | NOS | 86.1 | 272 | Local
504030341 | PIERCING INSULATION STRAIGHT THROUGH JOINT (ABC) -16SQMM | NOS | 126.3 | 273 | Local
504026941 | INSULATION-PIERCING CONNECTOR (ABC) - 35-50SQ MM | NOS | 95.09 | 274 | Local
504030741 | PIERCING INSULATION STRAIGHT THROUGH JOINT (ABC) -35 SQMM N.WIRE | NOS | 100.76 | 275 | Local
504026741 | INSULATION-PIERCING CONNECTOR (ABC) - 50-70 SQ MM | NOS | 117.42 | 276 | Local
504030841 | PIERCING INSULATION STRAIGHT THROUGH JOINT (ABC) -50SQ MM N.WIRE | NOS | 164.57 | 277 | Local
504030941 | PIERCING INSULATION STRAIGHT THROUGH JOINT (ABC) -50SQ MM POWER CABLE | NOS | 164.57 | 278 | Local
504031141 | PIERCING INSULATION STRAIGHT THROUGH JOINT (ABC)-70 SQ MM POWER CABLE | NOS | 182.53 | 279 | Local
504027041 | INSULATION-PIERCING CONNECTOR (ABC) - 95SQ MM | NOS | 108 | 280 | Local
504027141 | INSULATION-PIERCING CONNECTOR -ABC TO ABC TEE JOINT | NOS | 149.17 | 281 | Local
504031241 | PIERCING INSULATION STRAIGHT THROUGH JOINT (ABC) -CABLE END CAP | NOS | 20.31 | 282 | Local
504027441 | BI-METALLIC CRIMPING TYPE WATER PROOF LUG-16SMM ST LT(ABC) | NOS | 167.19 | 283 | Local
504027541 | BI-METALLIC CRIMPING TYPE WATER PROOF LUG-35SMM MSNGR(ABC) | NOS | 179.32 | 284 | Local
504027741 | BI-METALLIC CRIMPING TYPE WATER PROOF LUG-50SMM PWR(ABC) | NOS | 180 | 285 | Local
504027641 | BI-METALLIC CRIMPING TYPE WATER PROOF LUG-50SMM MSNGR(ABC) | NOS | 195.09 | 286 | Local
504027841 | BI-METALLIC CRIMPING TYPE WATER PROOF LUG-70SMM PWR(ABC) | NOS | 247.5 | 287 | Local
504060941 | LTDISTBOX 3PH CON.WH ST.STRAP&BUCKLE-ABC | NOS | 1489.9 | 288 | Local
504140641 | CAB END CAP FOR DIFF.SIZE AB CABLE | NOS | 17.21 | 289 | Local
504151441 | CAB TIE WH ADJ.LOCKING ARRANGEMENT. | NOS | 7.96 | 290 | Local
505036541 | SUSP. CLMP HT ABC70-150SQMM MESENGER | NOS | 156.62 | 291 | Local
505030641 | SUSPENTION CLAMP WITH BRKT 35SQMM MESENGER | NOS | 367.62 | 292 | Local
505030241 | SUSPENTION CLAMP WITH BRKT 180SQMM MESENGER | NOS | 416.03 | 293 | Local
505030341 | ANCHORING CLAMP 180SQ.MM. : MESSENGER | NOS | 449.46 | 294 | Local
505034141 | DEAD END CLAMP-LT ABC(3X70+1X16+1X50SMM) | NOS | 389.66 | 295 | Local
505030841 | EYE HOOK FOR ANCHOR & SUSPN. CLAMP | NOS | 110.64 | 296 | Local
201050111 | G.I. BARBED WIRE | MT | 182529.23 | 297 | Local
910010241 | CAUTION BOARD - 11KV | NOS | 160.18 | 298 | Local
910011641 | CAUTION BOARD - 400V | NOS | 160.18 | 299 | Local
910012141 | CAUTION BOARD - 33KV | NOS | 160.18 | 300 | Local